## Slide 1: Real Electricity Nodal Prices
Coherence with 60% allowable CO2 and 50% allowable CO2

## Slide 2: General notes on the networks
Real ENP needs 7 PC to describe >95% variance
60% allowable CO2 network needs 9 PC to describe >95% variance
50% allowable CO2 network needs 9 PC to describe >95% variance
60% and 50% allowable CO2 networks are almost identical in terms of PC for nodal prices
Real data: Bosnia-Herzegovina (BA) left out

## Slide 3: About the energy, electricity and heating
Energy
  In 2019, renewable energy represented 19.7 % of energy consumed in the EU-27.
Electricity
  In 2019, renewable energy sources made up 34 % of gross electricity consumption in the EU-27.
Heating
  In 2019, renewable energy accounted for 22.1 % of total energy use for heating and cooling in the EU-27.

## Slide 4: About the prices
Average prices [€/MWh]
  Real: 40.1403
  60%: 53.0914
  50%: 53.0915
Minimum prices [€/MWh]
  Real: -115.31
  60%: 0.0099965
  50%: 0.0099968
Maximum prices [€/MWh]
  Real: 730.38
  60%: 1000
  50%: 1000
Romania is the country with the highest price of 730 [€/MWh]
Both 60% and 50% have prices at 1000 [€/MWh] for all countries at some point in time.
  Have been artificially capped at 1000
Highest Real prices [€/MWh] | 
Country | Prices
RO | 730.38
IE | 378.12
GB | 350.00
EE | 255.03
LT | 255.03

## Slide 5: Principal component 1 – Map plot PC
Romania is the most green. This country is also the one with a price of 730 [€/MWh]
Both 60% and 50% have prices at 1000 [€/MWh] for all countries at some point in time.

## Slide 6: Principal component 1 – FFT and seasonal

## Slide 7: Principal component 2 – Map plot PC

## Slide 8: Principal component 2 – FFT and seasonal

## Slide 9: Principal component 3 – Map plot PC

## Slide 10: Principal component 3 – FFT and seasonal

## Slide 11: Principal component 4 – Map plot PC

## Slide 12: Principal component 4 – FFT and seasonal

## Slide 13: Principal component 5 – Map plot PC

## Slide 14: Principal component 5 – FFT and seasonal

## Slide 15: Principal component 6 – Map plot PC

## Slide 16: Principal component 6 – FFT and seasonal

## Slide 17: Principal component 7 – Map plot PC

## Slide 18: Principal component 7 – FFT and seasonal

## Slide 19: Coherence between real ENP and Simulated networks
Real ENP vs. elec_only_0.125_0.6
Real ENP vs. elec_only_0.125_0.5

## Slide 20: Coherence method 1

## Slide 21: Coherence method 2

## Slide 22: Coherence method 3